## Slide 1: Soliton Infrastructure Tools on TestStand

## Slide 2: Common Needs Across Teams
Accommodate Instrumentation across multiple test benches/product teams
Run test sequence across multiple test conditions (Temperature, Voltage Sweeps, etc)
Log Test Sequence Results
Report Generation in custom format
PVT Characterization
Firmware Validation
System Validation
Standards Compliance Testing
Validation Activity
Common Needs
PMICs
Data Converters
RFICs
Processors
etc
DUT Type

## Slide 3: Soliton Infrastructure Tools (LabVIEW & TestStand)
Soliton helps develop automation software infrastructure capable of reuse across multiple product teams for varied validation needs. In this presentation, we have provided an overview of a few tools developed in NI TestStand
Tools developed using LabVIEW & TestStand
Highly customized TestStand environment
Helps reduce entry barrier to automation using TestStand for new NI Software users
Generic build to enable use across multiple teams and use cases

## Slide 4: Soliton’s Iteration Tool
Custom Step Type in TestStand
Allows repeated run of sequences across
  Multiple test conditions
  Combinations of test conditions
Simple GUI for configuration of iteration parameters
Integrated with the Data Logging Tool
Notes: Picture 1
Describe what kind of looping is required generally in test sequences
Describe how test stand looping will differ from the tool
Picture 2
Describe the various features of the GUI
  Combination of iterations
  Import Export test conditions
  Different types of forcing conditions
  Picture 3
  Talk about Datalog
  Picture 4
  1) Report Generation

## Slide 5: Soliton Custom Data Log Tool
Custom TestStand step
Easily Configurable
Predefined Datalog Format
Database, CSV, ASCII format, etc

## Slide 6: Soliton Instrument Config Tool
Custom TestStand step
Allows to choose from a list of available instruments in Depot
GUI based configuration for each step
Allows user to interchange instruments with minimal effort

## Slide 7: Other Soliton Value Tools
Email Notification
  Send email notifications at any point in the Test Sequence
Custom Report Generation
  Generate Report in required format using Microsoft Office

## Slide 8: Questions